## df_markdown
parent | branchPath | speckleName | header | shortName | text | detailedText | units | cc | image
daylight | daylight | daylight | Daylight |  | Daylight in buildings is composed of a mix of direct sunlight, diffuse skylight, and light reflected from the ground and surrounding elements. Daylighting design needs to consider orientation and building site characteristics, facade and roof characteristics, size and placement of window openings, glazing and shading systems, and geometry and reflectance of interior surfaces. Good daylighting design ensures adequate light during daytime | This text goes inside the expander
daylight | daylight/da | da | Daylight Autonomy [DA] | DA | Daylight autonomy (DA) is a daylight availability metric that corresponds to the percentage of the occupied time when the target illuminance at a point in a space is met by daylight (Reinhart, 2001). A target illuminance of 300 lux and a threshold DA of 50%, meaning 50% of the time daylight levels are above the target illuminance, are values that are currently promoted in the Illuminating Engineering Society of North America (IESNA, 2013), see section 1.9.4. | This text goes inside the expander | % time >300 lux | Annual
daylight | daylight/udi | udi | Useful Daylight Illuminance [UDI] | UDI | Useful daylight illuminance (UDI) is a daylight availability metric that corresponds to the percentage of the occupied time when a target range of illuminances at a point in a space is met by daylight. Daylight illuminances in the range 100 to 300 lux are considered effective either as the sole source of illumination or in conjunction with artificial lighting. Daylight illuminances in the range 300 to around 3 000 lux are often perceived as desirable (Mardaljevic et al, 2012). Recent examples in school daylighting design in the UK have led to recommendations to achieve UDI in the range 100-3 000 lux for 80% of occupancy hours. | This text goes inside the expander | % time [300 to 3000 lux] | Annual
daylight | daylight/df | df | Daylight Factor [DF] | DF | Daylight factor (DF) is a daylight availability metric that expresses as a percentage the amount of daylight available inside a room (on a work plane) compared to the amount of unobstructed daylight available outside under overcast sky conditions (Hopkins,1963). The key building properties that determine the magnitude and distribution of the daylight factor in a space are (Mardaljevic, J. (2012)): - The size, distribution, location and transmission properties of the facade and roof windows. - The size and configuration of the space. - The reflective properties of the internal and external surfaces. - The degree to which external structures obscure the view of the sky. The higher the DF, the more daylight is available in the room. Rooms with an average DF of 2% or more can be considered daylit, but electric lighting may still be needed to perform visual tasks. A room will appear strongly daylit when the average DF is 5% or more, in which case electric lighting will most likely not be used during daytime (CIBSE, 2002). | This text goes inside the expander | % | Static
daylight | daylight/vsc | vsc | Vertical Sky Component [VSC] | VSC | The Building Research Establishment (BRE) have set out in their handbook Site Layout Planning for Daylight and Sunlight a Guide to Good Practice (2011), guidelines and methodology for the measurement and assessment of daylight and sunlight within proposed buildings. One of the methods mentioned within section 2.1 and Appendix C of the handbook is the Vertical Sky Component (VSC). The VSC is a unit of measurement that represents the amount of available daylight from the sky, received at a particular window. It is measured on the outside face of the window. This unit is expressed as a percentage as it is the ratio between the amount of sky visible at the given reference point compared to the amount of light that would be available from a totally unobstructed hemisphere of sky. To put this unit of measurement into perspective, the maximum percentage value for a window with a completely unobstructed view through 90° in every direction is close to 50%. In order to maintain good levels of daylight the BRE guidance recommend that the VSC of a window should be 27% or greater. However, the 2011 BRE Handbook makes allowance for different target values in cases where a higher degree of obstruction may be unavoidable such as historic city centres or modern high rise buildings. *Source: BRE 2011* While most planning authorities now require these assessments, it is noted in the BRE Guidelines that they should be treated as guidelines as opposed to rules. The guidelines state that if the VSC is: - **At least 27%**, then conventional window design will usually give reasonable results. - **Between 15% and 27%**, then special measures (larger windows, changes to room layout) are usually needed to provide adequate daylight. - **Between 5% and 15%**, then it is very difficult to provide adequate daylight unless very large windows are used. - **Less than 5%**, then it is often impossible to achieve reasonable daylight, even if the whole window wall is glazed. | This text goes inside the expander | % View | Static
solrad | solrad | solrad | Solar Irradiation |  | Solar gain is short wave radiation from the sun that heats a building, either directly through an opening such as a window, or indirectly through the fabric of the building. Solar design (or passive solar design) is an aspect of passive building design that focusses on maximizing the use of heat energy from solar radiation. Very broadly, solar gain can be beneficial in cooler climates when it can be used as a passive way of heating buildings. However, too much solar gain can cause overheating and for this reason, Part L of the UK building regulations places restrictions on the amount of glazing that can be used in buildings. | This text goes inside the expander
solrad | solrad/rad_annual | rad_annual | Annual Solar Irradiation |  | Cumulative Solar Irradiation between 1st of January and 31 of December | This text goes inside the expander | kWh/m2 | Annual
solrad | solrad/rad_summer | rad_summer | Sunny Summer Day |  | Considers a sunny day between Jun 10th to Jun 30th | This text goes inside the expander | kWh/m2 | Day
solrad | solrad/rad_spring | rad_spring | Sunny Spring Day |  | Considers a sunny day between March 10th to March 30th | This text goes inside the expander | kWh/m2 | Day
solrad | solrad/rad_winter | rad_winter | Sunny Winter Day |  | Considers a sunny day between December 10th to December 30th | This text goes inside the expander | kWh/m2 | Day
cfd | cfd | cfd | Outdoor Wind Comfort |  | Pedestrian wind comfort studies take into consideration meteorological data, aerodynamics, and comfort criteria. The data regarding the latter two is provided by wind tunnel testing (physical experiments) and numerical simulation with computational fluid dynamics (CFD) software. Simulation can digitally model the airflow over and around a building or urban area and is a faster and less costly approach than physical experiments, but it is not meant to exclude them. Both techniques are used together in a construction project in order to ensure all required data is provided and adequate testing ensured. By assessing pedestrian wind comfort with CFD, urban master planners, civil engineers, and architects can predict the behavior of wind flow around buildings early, and benefit from an iterative design process. Wind speeds and other parameters can be calculated at pedestrian levels, and comfort can be evaluated based on given criteria. | This text goes inside the expander
cfd | cfd/cfd_wind | cfd_wind | Wind Velocity |  | Wind velocity explanation | This text goes inside the expander | m/s | Static
cfd | cfd/cfd_lawson | cfd_lawson | Outdoor Wind Comfort |  | Lawson Criteria | This text goes inside the expander | Categories | Static
out_comf | out_comf | out_comf | Outdoor Thermal Comfort |  | Outdoor Thermal Comfort | This text goes inside the expander
out_comf | out_comf/utci | utci | Outdoor Thermal Comfort | UTCI | Universal Thermal Comfort Index [UTCI] | This text goes inside the expander | degC
out_comf | out_comf/pet | pet | Outdoor Thermal Comfort | PET | Psychological Equivalent Temperature [PET] | This text goes inside the expander | degC
aq | aq | aq | Air Quality | A&Q | Air Quality Here goes the description on the importance of the Air quality in buildings | This text goes inside the expander
aq | aq/adms | adms | Air Quality |  | Vehicle pollutants concentration | This text goes inside the expander | NOx Concentration